## Slide 1
Title of Your Poster Author Names Department of Electrical & Computer Engineering, University at Albany
Problem Statement
The University at Albany’s chemistry department, as part of their educational mission, intends to build a laboratory for undergraduate students where they can gain hands on experience testing various material properties (including tensile strength). However, due to the extremely high cost of commercial products they have been unable to equip such a laboratory.
The goal of this project is to build an accurate, low cost, easy to use uniaxial tensile strength tester to support this educational mission.
System Requirements
Experimental Results
Project Partners
System Design
System Components & Budget
Metric | Sample | Our System | Known Value | Error
Young’s Modulus | Latex | ? | 740 ± 10 kPa | ?
… | Nitrile | ? | 2.4 ± 0.2 MPa | ?
Ult. Tensile Strength | Latex | ? | 3.3 ± 0.1 MPa | ?
… | Nitrile | ? | 4.4 ± 0.1 MPa | ?
Part | Purpose | Cost
Ultrasonic Range Sensor | Measures Distance | $4
Load Cell 5kg | Measures Force | $12
Amplifier Board | Amplifies and Digitizes Signal | $10
Microcontroller | Controls System | $15
TOTAL | TOTAL | $41
System Accuracy
Stress-Strain Curve
System Accuracy: The system should be able to accurately measure the stress-strain curve, such that Young’s Modulus and Ultimate Tensile Strength can be calculated to within two significant figures.
System Ease-of-Use: The system should be easy to calibrate and operate by undergraduate students without requiring knowledge of electronics or software programming.
Key System Features
To satisfy system requirements, we incorporated the following design modifications:
Item #1: Very brief description
Item #2: Very brief description
Item #3: Very brief description
Item #4: Very brief description
Item #5: Very brief description
Physical Model
Circuit Schematic
Include your design model with a descriptive caption that highlights key aspects of your design.
Modify the table above based on your experimental results.
Include a descriptive caption.
Include an example stress-strain curve for either Latex or Nitrile w/ descriptive caption.
Consider including a circuit schematic or other design artifact with a descriptive caption.
If you are making claims about the systems “ease-of-use” show some relevant data here with caption. Otherwise, include something else you wish to highlight.
Special thanks for Professor Chen, Feldblyun, Yeung, and the University at Albany’s Chemistry Department for sponsoring this project.
This project was developed in ECE442: Systems Analysis & Design in the Electrical & Computer Engineering Department.
Update this Table
List your system features above